|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bluff Lake Sondes | | | |  |  |  |  |  |  |  |
| Sonde Number | Deployment Location | Battery | Date of Last Check/Deployment | Date | Time of last field reading | Deploy Time | Time of first reading | Logging interval | Depth |  |
| 10868631 | Gauge | Good | 5/12 | 6/12 | 10:00 | 10:15 | 10:30 | 15 | 141cm |  |
|  | Baro | Good | 5/12 | 6/12 | 2:45 | 2:48 | 3:00 | 15 |  |  |
|  | Cypress | Good | 5/12 | 6/12 | 10:30 | 10:51 | 11:00 | 15 | 168 |  |
|  | Intake | Good | 5/12 | 6/12 | 2:00 | 2:05 | 2:15 | 15 | 244to water from rail |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bluff Lake Cameras | | | |  |  |  |  |  |  |  |
| SD card Number | Deployment Location | Camera Battery | Date of Last Check/Deployment | Date | Time of last field reading | Deploy Time | Time of first reading | Logging interval | File Name | GPS Point |
|  | Notch 1 | Good | 5/12 | 6/12 |  | Error in time, reads Feb12th |  |  |  |  |
|  | Notch 2 | Good | 5/12 | 6/12 |  |  |  |  |  |  |
|  | Back WCS | Good | 5/12 | 6/12 |  |  |  |  |  |  |
|  | Bridge 1 | Good | 5/12 | 6/12 |  |  |  |  |  |  |
|  | Bridge 2 | Good | 5/12 | 6/12 |  |  |  |  |  |  |